## GSM
SALA | TIPO | MARCA | Modelo | Número de Serie | TAG | Rack | Ubicación en Rack | Cantidad UR | Cantidad UR Disponile | Consumo KW | Coordenada | NUEVA - ORDEN | Hostname | Inventario Activo | Estado | Fecha Alarma | Alarma Hardware | Alarma Ventilador | Alarma Fuente de Poder | Alarma HDD | Comentario Alarmas | Observación General | Estado De Puertas | Observaciones Puertas | Disponibilidad UR | Disponibilidad Eléctrica | Disponibilidad de Enchufe | Estado de Rack
GSM | RACK | N/A | N/A | N/A | N/A | 5 | N/A |  | 4 |  | 4F | O-17 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Sin Puerta | N/A |  |  |  | Vacio
GSM | RACK | N/A | N/A | N/A | N/A | 6 | N/A |  | 0 |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A |  |  |  | REDES
GSM | SWITCH | CISCO | CATALYST 2960 | FOC1224U2GY | N/A | 6 | 4 | 1 |  | 0,045 | 4G | O-16 | SW2MPBN | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 2960 | FOC12224X304 | N/A | 6 | 5 | 1 |  | 0,045 | 4G | O-16 | SW2MPBN | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | FURUKAWA | N/A | N/A | N/A | 6 | 6 | 1 |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | SIEMON | N/A | N/A | N/A | 6 | 7 | 1 |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 2960 G | FOC1047X3QU | N/A | 6 | 8 | 1 |  | 0,045 | 4G | O-16 | SWCLUSTER-2 GSM | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 2960 G | FOC1047XBP9 | N/A | 6 | 9 | 1 |  | 0,045 | 4G | O-16 | SWCLUSTER-1 GSM | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 2960 G | FOC1046X012 | N/A | 6 | 10 | 1 |  | 0,045 | 4G | O-16 | APQP1A31-RED RESP | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | SYSTIMAX | N/A | N/A | N/A | 6 | 12 | 1 |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | SYSTIMAX | N/A | N/A | N/A | 6 | 13 |  |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | ROUTER | CISCO | CATALYST 3600 | JMX0629K2AP | N/A | 6 | 14 - 15 | 2 |  | 0,1224 | 4G | O-16 | CENTINELA | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | ROUTER | CISCO | CATALYST 3600 | JAB05280FM | N/A | 6 | 16 | 1 |  | 0,1224 | 4G | O-16 | CHILLAN | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | ROUTER | CISCO | CISCO 2800 SERIES | FTX1226W0Q4 | N/A | 6 | 18 | 1 |  | 0,0159 | 4G | O-16 | R2MPBN APQ | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | ROUTER | CISCO | CISCO 2800 SERIES | FHK1122F16H | N/A | 6 | 22 | 1 |  | 0,0159 | 4G | O-16 | RIMPBNAPQ | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL F.O | N/A | N/A | N/A | N/A | 6 | 27 | 1 |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 2950 | FOC0938Z19E | N/A | 6 | 36 | 1 |  | 0,03 | 4G | O-16 | APQPIA30 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | SIEMON | N/A | N/A | N/A | 6 | 38 | 1 |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | AVAYA | N/A | N/A | 6 | 6 | 40 | 1 |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | AVAYA | N/A | N/A | 6 | 6 | 41 | 1 |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | AVAYA | N/A | N/A | 6 | 6 | 42 | 1 |  |  | 4G | O-16 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | HUAWEI | iMANAGER M2000 | 98IMM00976-001 | N/A | 8 | n/a | 6 | N/A | N/A | 4I | O-14 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A |  |  |  | REDES
GSM | QUALIFICATION CARD | HUAWEI | OPTIX OSN3500 | 980C019984-001 | N/A | 9 | 3-16 | 6 | 11 |  | 4J | O-13 | N/A | N/A | Alarmado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | N/A | N/A | N/A | N/A | 7 | N/A |  | 0 |  | 4H | O-15 | N/A | N/A | Operativo | N/a | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave/sin Puerta Trasera | N/A |  |  |  | REDES
GSM | PATCH PANEL | N/A | N/A | N/A | N/A | 7 | 26 | 1 |  | N/A | 4H | O-15 | REGLETA 1 MARTIS | N/A | Operativo | 2019-12-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PATCH PANEL | N/A | N/A | N/A | N/A | 7 | 24 | 1 |  | N/A | 4H | O-15 | REGLETA 2 IDF | N/A | Operativo | 2019-12-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | EMC2 | N/A | N/A | N/A | 12 | N/A |  | 22 |  | 4M | O-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A |  |  |  | REDES
GSM | STORAGE | CLARiiON | CX500 STORAGE | LKE00041201774 | N/A | 12 | 2 - 5 | 4 |  | 0,371 | 4M | O-10 | N/A | N/A | Alarmado | 2020-05-14 | N/A | N/A | Ambar | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | EMC | DS-4400M | N/A | N/A | 12 | 42 | 1 |  | 0,0159 | 4M | O-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | EMC | DS-4400M | N/A | N/A | 12 | 42 | 1 |  | 0,0159 | 4M | O-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | CLARiiON | CX500 STORAGE | CF2LB070400831 | N/A | 12 | 6-9 | 4 |  | 0,371 | 4M | O-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | SUN | SUN RACK 900-38 | 370-6694-02 | N/A | 13 | N/A |  | 3 |  | 4N | O-09 | ATIX-SC-SOP.SIST.GESTION | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 11 | SI | 18 | Operativo
GSM | STORAGE | SUN | STOREDGE A1000 | 205H2D10 | N/A | 13 | 1-4 | 3 |  | 0,28 | 4N | O-09 | A1000-1 | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | SUN | STOREDGE A1000 | 205H2491 | N/A | 13 | 5-8 | 3 |  | 0,28 | 4N | O-09 | A1000-2 | N/A | Alarmado | 2019-02-11 | N/A | N/A | N/A | Error Disco | Signo de Exclamación | N/A | N/A | N/A
GSM | SERVER | SUN | SUNFIRE 280R | 204C05E3 | N/A | 13 | 10-13 | 2 |  | 0,486 | 4N | O-09 | GEXORA-1 | N/A | Alarmado | 2019-02-11 | N/A | N/A | N/A | Error Disco | Signo de Exclamación | N/A | N/A | N/A
GSM | SERVER | SUN | SUNFIRE 280R | 204C05EC | N/A | 13 | 14 - 17 | 2 |  | 0,486 | 4N | O-09 | GEXORA-2 | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | SUN | SPARC T4-1 | N/A | N/A | 13 | 24 - 25 | 1 |  | 0,46 | 4N | O-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | SUN | SUNFIRE V240 | FN55170227 | N/A | 13 | 28-29 | 1 |  | 0,33 | 4N | O-09 | FENIX | Fenix | Alarmado | 2019-02-11 | N/A | N/A | N/A | Error Disco | Signo de Exclamación | N/A | N/A | N/A
GSM | BACKUP | SUN | DLT | 141C5AD0 | N/A | 13 | 34-36 | 1 |  | 0.019 | 4N | O-09 | N/A | N/A | Alarmado | 2019-02-11 | N/A | N/A | N/A | Error Disco | CADOR/AMBAR.TAPE BACKUP | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 2950 | FHK0621Y006 | N/A | 13 | 39 | 1 |  | 0.027 | 4N | O-09 | SWITCH ATIX | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | SUN MICROSYSTEM | N/A | N/A | N/A | 14 | N/A |  | 6 |  | 4O | O-08 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave/sin Puerta Frontal | N/A | 23 | SI | 8 | Operativo
GSM | STORAGE | SUN MICROSYSTEM | 3 DIGITAL STORAGE | 803G0900 | N/A | 14 | 15-16 | 2 |  | 0,276 | 4O | O-08 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | SUN MICROSYSTEM | SUNFIRE 280R | 250AD1267 | N/A | 14 | 9-12 | 4 |  | 0,336 | 4O | O-08 | N/A | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | SUN MICROSYSTEM | SUNFIRE 480R | 305Q0089 | N/A | 14 | 3-8 | 6 |  | 0,96 | 4O | O-08 | N/A | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | HP | N/A | IE00048318 | N/A | 15 | N/A |  | 19 |  | 4P | O-07 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave/sin Puerta Frontal | N/A | 18 | SI | 13 | Operativo
GSM | SERVER | HP | RP5470 | DEH4305DMN | N/A | 15 | 27 - 32 | 5 |  | 0,44 | 4P | O-07 | N/A | N/A | Alarmado | 2020-12-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | ARRAY 5300 | SG02430114 | N/A | 15 | 23 - 25 | 2 |  | 0.078 | 4P | O-07 | N/A | N/A | Operativo | 2020-12-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HP | FC ENTRY SWITCH 8B | A7346-63001 | N/A | 15 | 4 | 1 |  | 0.03 | 4P | O-07 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | HP | N/A | N/A | 1.27 | 1 | N/A |  | 3 |  | 7B | N-21 | NETACT NSN | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 5 | SI | 5 | Operativo
GSM | STORAGE | HP | BLADE SYSTEM C7000 ENCLOSURE | N/A | N/A | 1 | 1 - 10 | 10 |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2019-04-11 | N/A | N/A | N/A | Alarma de disco | N/A | Storage.bay 4,6,7,9,10,13,14,15 | N/A | N/A
GSM | SERVER | HP | PROLIANT 680C G5 | GB8923SMSW |  | 1 | 1-10 Blay 1 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 680C G5 | GB8923SMSV |  | 1 | 1-10 Blay 2 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | GB8923SMTA |  | 1 | 1-10 Blay 3 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | GB8923SMSN |  | 1 | 1-10 Blay 4 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | GB8923SMT6 |  | 1 | 1-10 Blay 5 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | GB8923SMST |  | 1 | 1-10 Blay 6 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | CZ3222KVB4 |  | 1 | 1-10 Blay 7 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | GB8923SMT9 |  | 1 | 1-10 Blay 11 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Operativo | 2020-05-18 | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT 460C | GB8923SMTH |  | 1 | 1-10 Blay 12 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | GB8923SMTF |  | 1 | 1-10 Blay 13 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | GB8923SMT1 |  | 1 | 1-10 Blay 14 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | HP | PROLIANT 460C | GB80270YXL |  | 1 | 1-10 Blay 15 |  |  | 1,59 | 7B | N-21 | N/A | N/A | Alarmado | 2020-05-18 | N/A | N/A | N/A | Alarma de disco | N/A
GSM | SERVER | EMC2 | CLARiON CX-240 | N/A | N/A | 1 | 12 - 13 | 2 |  | 0,011 | 7B | N-21 | N/A | N/A | Alarmado | 2019-04-11 | N/A | N/A | N/A | Alarma de disco | N/A | N/A | N/A | N/A
GSM | STORAGE | EMC2 | CLARiON CX-240 | N/A | N/A | 1 | 14 - 16 | 3 |  | 0,011 | 7B | N-21 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | EMC2 | CLARiON CX-240 | N/A | N/A | 1 | 17 - 19 | 3 |  | 0,011 | 7B | N-21 | N/A | N/A | Alarmado | 2019-04-11 | N/A | N/A | N/A | Alarma de disco | N/A | N/A | N/A | N/A
GSM | STORAGE | EMC2 | CLARiON CX-240 | N/A | N/A | 1 | 20 - 22 | 3 |  | 0,011 | 7B | N-21 | N/A | N/A | Alarmado | 2019-06-06 | N/A | N/A | N/A | Alarma de disco | N/A | N/A | N/A | N/A
GSM | STORAGE | EMC2 | CLARiON CX-240 | N/A | N/A | 1 | 23 - 25 | 3 |  | 0,011 | 7B | N-21 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | I/O PORT | HP | CONSOLA | N/A | N/A | 1 | 31 | 1 |  | 0,21 | 7B | N-21 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | CISCO | 3845MB | FCZ132371E2 | N/A | 1 | 34 - 36 | 3 |  | 0,28 | 7B | N-21 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | CISCO | 3845MB | FCZ132371E1 | N/A | 1 | 37 - 39 | 3 |  | 0,28 | 7B | N-21 | rtr02oss | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 3750G | N/A | N/A | 1 | 40 | 1 |  | 0,41 | 7B | N-21 | C3750-3 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 3750G | N/A | N/A | 1 | 41 | 1 |  | 0,41 | 7B | N-21 | C3750-1 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 3750G | N/A | N/A | 1 | 42 | 1 |  | 0,41 | 7B | N-21 | C3750-2 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | HP | N/A | N/A | 1.23 | 2 | N/A |  | 0 |  | 7C | N-20 | TRAFFICA 01 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 12 | SI | 16 | Operativo
GSM | SERVER | HP | PROLIANT DL360GEM9 | N/A | N/A | 2 | 2 | 1 |  | 0,23 | 7C | N-20 | N/A | N/A | Alarmado | 2022-03-13 | N/A | N/A | N/A | N/A | N/A | BAY 5 APAGADO | N/A | N/A
GSM | PDU | HP | E04502 | N/A | N/A | 2 | 6 - 10 IZQUIERDA | 4 |  | 0,23 | 7C | N-20 | N/A | N/A | Alarmado | 2020-05-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PDU | HP | E04502 | N/A | N/A | 2 | 6 - 10 DERECHA | 4 |  | 4,38 | 7C | N-20 | N/A | N/A | Alarmado | 2020-05-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL360GEN9 | N/A | N/A | 2 | 14 | 1 |  | 0,23 | 7C | N-20 | N/A | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | BAY 5 APAGADO | N/A | N/A
GSM | STORAGE | HP | D3700 ENCLOSURE | N/A | N/A | 2 | 15 - 16 | 2 |  | 0,32 | 7C | N-20 | N/A | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL360GEN9 | N/A | N/A | 2 | 17 | 1 |  | 0,23 | 7C | N-20 | N/A | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | BAY 5 APAGADO | N/A | N/A
GSM | STORAGE | HP | D3700 ENCLOSURE | N/A | N/A | 2 | 18 - 19 | 2 |  | 0,32 | 7C | N-20 | N/A | N/A | Alarmado | 2020-03-22 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | I/O PORT | HP | CONSOLA | N/A | N/A | 2 | 21 | 1 |  | 0,21 | 7C | N-20 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | PROLIANT DL360GEN9 | N/A | N/A | 2 | 24 | 1 |  | 0,23 | 7C | N-20 | N/A | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | BAY 5 APAGADO | N/A | N/A
GSM | STORAGE | HP | D3700 ENCLOSURE | N/A | N/A | 2 | 25 - 26 | 2 |  | 0,32 | 7C | N-20 | N/A | N/A | Alarmado | 2019-12-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL360GEN9 | N/A | N/A | 2 | 27 | 1 |  | 0,23 | 7C | N-20 | N/A | N/A | Alarmado | 2022-03-13 | N/A | N/A | N/A | N/A | N/A | BAY 5 APAGADO | N/A | N/A
GSM | STORAGE | HP | D3700 ENCLOSURE | N/A | N/A | 2 | 28 - 29 | 2 |  | 0,32 | 7C | N-20 | N/A | N/A | Alarmado | 2019-12-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | N/A | N/A | 2 | 30 - 31 | 2 |  | 0,16 | 7C | N-20 | N/A | N/A | Alarmado | 2019-02-11 | N/A | N/A | N/A | N/A | N/A | BAY 3 APAGADO | N/A | N/A
GSM | STORAGE | HP | STORAGE WORKS DVD/USB | N/A | N/A | 2 | 32 - 33 Bay 20,16 | 2 |  | 0,048 | 7C | N-20 | TRAFFICA-NSN | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | Alarma de disco | N/A | BAY 16 | N/A | N/A
GSM | PATCH PANEL | N/A | FIBER ST/FC | N/A | N/A | 2 | 35 Adelante | 1 |  | N/A | 7C | N-20 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CISCO 2960 | N/A | N/A | 2 | 34 Atrás | 1 |  | 0,045 | 7C | N-20 | APQP1A27_SW2 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CISCO 2960 | N/A | N/A | 2 | 35 Atrás | 1 |  | 0,045 | 7C | N-20 | APQP1A27_SW1 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | HP | EMC2 VNX SERIES | N/A | 1.21 | 3 | N/A |  | 0 |  | 7D | N-19 | STORAGE/BACKUP | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 24 | SI | 42 | Operativo
GSM | SERVER | HP | PROLIANT DL360G7 | N/A | N/A | 3 | 1 | 1 |  | 0,23 | 7D | N-19 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | VNX5300 | N/A | N/A | 3 | 5 - 7 | 3 |  | 0,35 | 7D | N-19 | N/A | N/A | Alarmado | 2019-02-02 | N/A | N/A | N/A | Error de Disco | MARCADOR/AMBAR.3 DE 4 MODULOS ALARMADOS | N/A | N/A | N/A
GSM | STORAGE | HP | VNX5300 | N/A | N/A | 3 | 8-10 | 3 |  | 0,35 | 7D | N-19 | N/A | N/A | Alarmado | 2019-02-11 | N/A | N/A | N/A | Error de Disco | MARCADOR/AMBAR.bay 1 | N/A | N/A | N/A
GSM | STORAGE | HP | VNX5300 | N/A | N/A | 3 | 11-13 | 3 |  | 0,35 | 7D | N-19 | N/A | N/A | Alarmado | 2020-05-14 | N/A | N/A | N/A | Error de Disco | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | VNX5300 | N/A | N/A | 3 | 14-16 | 3 |  | 0,35 | 7D | N-19 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | I/O PORT | HP | CONSOLA | N/A | N/A | 3 | 20 | 1 |  | 0,21 | 7D | N-19 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | STORAGE WORKS | N/A | N/A | 3 | 21 | 1 |  | 0,048 | 7D | N-19 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PDU 1 | HP | N/A | N/A | N/A | 3 | 36 - 38 D | 3 |  | N/A | 7D | N-19 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PDU 2 | HP | N/A | N/A | N/A | 3 | 30 - 28 D | 3 |  | N/A | 7D | N-19 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PDU 3 | HP | N/A | N/A | N/A | 3 | 16 - 18 D | 3 |  | N/A | 7D | N-19 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PDU 4 | HP | N/A | N/A | N/A | 3 | 8 - 10 | 3 |  | N/A | 7D | N-19 | N/A | N/A | Alarmado | 2019-02-11 | N/A | N/A | N/A | Error de Disco | MARCADOR/AMBAR | N/A | N/A | N/A
GSM | RACK | HP | N/A | GB462600HU | N/A | 7 | N/A |  | 0 |  | 7H | N-15 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 3 | SI | 22 | Operativo
GSM | SWITCH | CISCO | CATALYST 3750G | FOC1613Y3MX | N/A | 7 | 35 atrás | 1 |  | 0,41 | 7H | N-15 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 3750G | FOC1613Y3QZ | N/A | 7 | 34 atrás | 1 |  | 0,41 | 7H | N-15 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | HP Storageworks | 7CE420P28J | N/A | 7 | 32 - 33 Bay 14 | 2 |  | 0,048 | 7H | N-15 | N/A | N/A | Alarmado | 2021-10-17 | N/A | N/A | N/A | N/A | MARCADOR/AMBAR | N/A | N/A | N/A
GSM | SERVER | HP | ProLiant DL380p Gen8 | No visible | N/A | 7 | 30 -31 | 2 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2021-10-17 | N/A | N/A | N/A | N/A | MARCADOR/AMBAR | N/A | N/A | N/A
GSM | STORAGE | HP | HP Storageworks | 5C7319P1A7 | N/A | 7 | 28 - 29 Bay 9-20 | 2 |  | 0,048 | 7H | N-15 | N/A | N/A | Alarmado | 2021-03-21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | ProLiant DL360p Gen8 | No visible | N/A | 7 | 27 | 1 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2019-01-31 | N/A | N/A | N/A | Error de Disco | MARCADOR/AMBAR | N/A | N/A | N/A
GSM | STORAGE | HP | HP Storageworks | 5C7319PLA2 | N/A | 7 | 25 - 26 Bay 8 | 2 |  | 0,048 | 7H | N-15 | N/A | N/A | Alarmado | 2020-01-29 | N/A | N/A | N/A | Error de Disco | N/A | BAY 3 LLENO | N/A | N/A
GSM | SERVER | HP | ProLiant DL360p Gen8 | No visible | N/A | 7 | 24 | 1 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2019-01-31 | Led Color Rojo | N/A | N/A | N/A | MARCADOR/ROJO | N/A | N/A | N/A
GSM | CONSOLA | HP | HP TFT7600 | 2C48320DY3 | N/A | 7 | 20 | 1 |  | 0,21 | 7H | N-15 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | HP Storageworks | 5C7319PLAF | N/A | 7 | 17 - 18 Bay 5-17 | 2 |  | 0,048 | 7H | N-15 | N/A | N/A | Alarmado | 2021-06-27 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | ProLiant DL380p Gen8 | No visible | N/A | 7 | 15 - 16 | 2 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2020-12-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | HP Storageworks | 5C7319PLAH | N/A | 7 | 13 - 14 | 2 |  | 0,048 | 7H | N-15 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | ProLiant DL380p Gen8 | No visible | N/A | 7 | 11 - 12 | 2 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2021-10-17 | N/A | N/A | N/A | N/A | MARCADOR/AMBAR | N/A | N/A | N/A
GSM | STORAGE | HP | HP Storageworks | 5C7250PIDE | N/A | 7 | 9 - 10 Bay 10 | 2 |  | 0,048 | 7H | N-15 | N/A | N/A | Alarmado | 2020-04-04 | N/A | N/A | N/A | Error de Disco | N/A | BAY 15 LLENO | N/A | N/A
GSM | SERVER | HP | ProLiant D360p Gen8 | No visible | N/A | 7 | 8 | 1 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2019-12-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | HP | HP Storageworks | 5C7250PL3N | N/A | 7 | 6 - 7 Bay 7- 11 | 2 |  | 0,048 | 7H | N-15 | N/A | N/A | Alarmado | 2020-04-04 | N/A | N/A | N/A | Error de Disco | N/A | BAY 16 LLENO | N/A | N/A
GSM | SERVER | HP | ProLiant D360p Gen8 | No visible | N/A | 7 | 5 | 1 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2019-01-31 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | ProLiant D360p Gen9 | CZJ7111PYH | N/A | 7 | 2 | 1 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2022-03-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | ProLiant D360p Gen7 | No visible | N/A | 7 | 1 | 1 |  | 0,16 | 7H | N-15 | N/A | N/A | Alarmado | 2019-01-31 | N/A | N/A | N/A | Error de Disco | MARCADOR/AMBAR | N/A | N/A | N/A
GSM | RACK | DELL | N/A | S22D300014 | N/A | 8 | N/A |  | 0 |  | 7I | N-14 | OSS-SAMSUNG | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 42 | NO | 0 | Vacio
GSM | RACK | N/A | N/A | N/A | N/A | 13 | N/A |  | 3 |  | 5N | N-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 8 | SI | 8 | Operativo
GSM | ROUTER | CISCO | ASR903 | 877CXN3N1871TXA | N/A | 13 | 36 - 38 | 2 |  | 0,24 | 5N | N-10 | N/A | N/A | Alarmado | 2019-06-06 | N/A | N/A | N/A | N/A | MARCADOR/AMBAR.PUERTO SIN USAR | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | USE3256V0T | N/A | 13 | 33 - 34 | 2 |  | 0,16 | 5N | N-10 | ASTRO-CHILE-SQL-02 | N/A | Apagado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | USE32574B6 | N/A | 13 | 31 - 32 | 2 |  | 0,16 | 5N | N-10 | ASTRO-CHILE-SEP-04 | N/A | Apagado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | USE32574AY | N/A | 13 | 29 - 30 | 2 |  | 0,16 | 5N | N-10 | ASTRO-CHILE-SEP-05 | N/A | Apagado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | USE32574AL | N/A | 13 | 27 - 28 | 2 |  | 0,16 | 5N | N-10 | ASTRO-CHILE-SEP-06 | N/A | Apagado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | USE32574BA | N/A | 13 | 25 - 26 | 2 |  | 0,16 | 5N | N-10 | ASTRO-CHILE-MGM01 | N/A | Apagado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SEC/APPLIANCE | FORTINET | FORTIGATE 3040B | FG3K0B3I12700374 | N/A | 13 | 19 - 20 | 2 |  | 0,19 | 5N | N-10 | N/A | N/A | Operativo | N/A | N/A | N/A | Fuente Apagada | N/A | fuente 1 desconectada | N/A | N/A | N/A
GSM | MONITOR | HP | D8897 | No visible | N/A | 13 | 4 - 12 | 5 |  | 0,19 | 5N | N-10 | N/A |  | Operativo | N/A | N/A | N/A | NA | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | SENECA | S1100 | 60KDMN2 | N/A | 13 | 13 | 1 |  | 0,21 | 5N | N-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | NETWORK MONITOR | FORTINET | 2000B | FL2KB3R12600176 | N/A | 13 | 2 - 3 | 2 |  | 0,035 | 5N | N-10 | N/A | N/A | Alarmado | 2019-02-11 | N/A | N/A | Fuente Apagada | N/A | fuente 2 desconectado | N/A | N/A | N/A
GSM | RACK | N/A | N/A | N/A | N/A | 14 | N/A |  | 2 |  | 5O | N-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | NO |  |  | Operativo
GSM | PACH PANNEL | FURUKAWA | CAT 5E | N/A | N/A | 14 | 42 | 1 |  | N/A | 5O | N-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | C3KX-NM-15 | N/A | N/A | 14 | 41 | 1 |  | 0,048 | 5O | N-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | C3KX-NM-15 | 131081 | N/A | 14 | 40 | 1 |  | 0,048 | 5O | N-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PACH PANNEL | FURUKAWA | CAT 5E | N/A | N/A | 14 | 39 | 1 |  | N/A | 5O | N-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PACH PANNEL | FURUKAWA | CAT 5E | N/A | N/A | 14 | 38 | 1 |  | N/A | 5O | N-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PACH PANNEL | FURUKAWA | CAT 5E | N/A | N/A | 14 | 37 | 1 |  | N/A | 5O | N-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SEC/APPLIANCE | FORTINET | FORTIGATE 3040B | FG3K0BEI12700443 | N/A | 14 | 33 - 34 | 2 |  | 0,19 | 5O | N-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | ROUTER | CISCO | ASR903 V1 | FOX1723P434 | N/A | 14 | 29 - 31 | 2 |  | 0,24 | 5O | N-09 | N/A | N/A | Alarmado | 2019-06-06 | N/A | N/A | N/A | N/A | MARCADOR/AMBAR.PUERTO SIN USAR | N/A | N/A | N/A
GSM | SERVER | HP | P2000 | N1Z003506001 | N/A | 14 | 26 - 27 | 2 |  | 0,33 | 5O | N-09 | ASTRO-CHILE-HP-P2000 | N/A | Alarmado | 2019-02-11 | N/A | N/A | N/A | Error de Disco Bay 3-7 | MARCADOR/AMBAR.BAY 8 | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | N/A | N/A | 14 | 24 - 25 | 2 |  | 0,16 | 5O | N-09 | ASTRO-CHILE-SQL-01 | N/A | Apagado | N/A | N/A | N/A | N/A | Error de Disco | MARCADOR/AMBAR.POWER SUPPLY 2 | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | N/A | N/A | 14 | 22 - 23 | 1 |  | 0,16 | 5O | N-09 | ASTRO-CHILE-SEP-01 | N/A | Apagado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HUAWEI | QUIDWAY S5300 | 2102351610DMF6000159 | N/A | 14 | 20 | 2 |  | 0,3 | 5O | N-09 | N/A | N/A | Apagado | 2022-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | N/A | N/A | 14 | 18 - 19 | 2 |  | 0,16 | 5O | N-09 | ASTRO-CHILE-SEP-02 | N/A | Apagado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN8 | N/A | N/A | 14 | 16 - 17 | 2 |  | 0,16 | 5O | N-09 | ASTRO-CHILE-SEP-03 | N/A | Apagado | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | N/A | WHQL | 1002969 | N/A | 14 | 12 - 13 | 2 |  | N/A | 5O | N-09 | SERVIDOR2 | N/A | Alarmado | 2019-10-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268A | 2102311CER10F7000211 | N/A | 14 | 9 - 10 | 2 |  | 0,276 | 5O | N-09 | ASTRO-CHILE-SEP-07 | N/A | Alarmado | 2022-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268A | N/A | N/A | 14 | 7 - 8 | 2 |  | 0,276 | 5O | N-09 | ASTRO-CHILE-SEP-08 | N/A | Alarmado | 2022-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268A | N/A | N/A | 14 | 5 - 6 | 2 |  | 0,276 | 5O | N-09 | ASTRO-CHILE-SEP-09 | N/A | Alarmado | 2022-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268A | N/A | N/A | 14 | 3 - 4 | 2 |  | 0,276 | 5O | N-09 | ASTRO-CHILE-SEP-10 | N/A | Alarmado | 2022-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268A | N/A | N/A | 14 | 1 - 2 | 2 |  | 0,276 | 5O | N-09 | ASTRO-CHILE-SEP-11 | N/A | Alarmado | 2022-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | N/A | N/A | N/A | N/A | 15 | N/A |  | 0 |  | 5P | N-08 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | NO | NO | NO | Operativo
GSM | SERVER | SUNFIRE | V880 | 226V0112 | N/A | 15 | SUELO | N/A |  | 1,8 | 5P | N-08 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | SUNMICROSYSTEM | STOREDGE A1000 | 11042219 | N/A | 15 | SOBRE SERVIDOR | N/A |  | 0,16 | 5P | N-08 | N/A | N/A | Alarmado | 2019-02-11 | N/A | N/A | N/A | Error de Disco | MARCADOR/AMBAR.POWER SUPPLY 2 | N/A | N/A | N/A
GSM | PANTALLA | SUNMICROSYSTEM | 447Z | 0070579-9819KC1352 | N/A | 15 | SOBRE SERVIDOR | N/A |  | 0,042 | 5P | N-08 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | SUNMICROSYSTEM | N/A | N/A | N/A | 16 | N/A |  | 4 |  | 5Q | N-07 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Sin Puerta | N/A | 40 | SI | 48 | Vacio
GSM | RACK | N/A | N/A | N/A | N/A | 17 | N/A |  | 38 |  | 5R | N-06 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave/sin Puerta Trasera | N/A | 38 | SI | 12 | Operativo
GSM | SWITCH | BROCADE | 5100 | N/A | N/A | 17 | 41 | 1 |  | 0,05 | 5R | N-06 | SW510-2 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | BROCADE | 5100 | ALM253OF06K | N/A | 17 | 39 | 1 |  | 0,05 | 5R | N-06 | SW510-1 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | PACH PANNEL | PANDUIT | N/A | N/A | N/A | 17 | 38 | 1 |  | N/A | 5R | N-06 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | SUNMICROSYSTEM | 90038 | 07460WD-06377003585 | TE14490 | 20 | N/A |  | 10 |  | 5V | N-02 | RACK 6V | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 17 | SI | 32 | Operativo
GSM | SWITCH | LANTRONIX | ETS32PR | N/A | N/A | 20 | 41-42 | 2 |  | 0,02 | 5V | N-02 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | SPARC ENTERPRICE | T2000 | NNL074100R | TE014493 | 20 | 26-25 | 4 |  | 0.165 | 5V | N-02 | PRD1093 | PRD1093 | Alarmado | 2021-05-09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | SUNFIRE | V490 | 0630AM1613 | TE014497 | 20 | 11 - 15 | 6 |  | 0.165 | 5V | N-02 | PRD1054 | N/A | Apagado | 2022-04-08 | N/A | N/A | N/A | N/A | N/A | Equipo Apagado por personal de Adexus | N/A | N/A
GSM | SERVER | SUNFIRE | V490 | 0630AM1614 | TE037474 | 20 | 6 - 10 | 6 |  | 0.165 | 5V | N-02 | PRD1053 | N/A | Apagado | 2022-04-08 | N/A | N/A | N/A | N/A | N/A | Equipo Apagado por personal de Adexus | N/A | N/A
GSM | SERVER | SUNFIRE | V490 | 0630AM1538 | TE037471 | 20 | 1 - 5 | 15 |  | 0.165 | 5V | N-02 | PRD1052 | N/A | Apagado | 2022-04-08 | N/A | N/A | N/A | N/A | N/A | Equipo Apagado por personal de Adexus | N/A | N/A
GSM | RACK | HP | ENTERPRISE | N/A | N/A | G09 | N/A | 42 | 21 |  | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 22 | SI | 44 | Operativo
GSM | SERVER | HP | PROLIANT DL380 GEN10 | 2M284903KK | N/A | G09 | 1 - 2 | 2 |  | 0,3 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380 GEN10 | 2M284903KD | N/A | G09 | 3 - 4 | 2 |  | 0,3 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380 GEN10 | 2M284903KH | N/A | G09 | 5 - 6 | 2 |  | 0,3 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380 GEN10 | 2M284903KB | N/A | G09 | 7 - 8 | 2 |  | 0,3 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380 GEN10 | 2M284903KJ | N/A | G09 | 9 -10 | 2 |  | 0,3 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380 GEN10 | 2M284903KG | N/A | G09 | 11 - 12 | 2 |  | 0,3 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380 GEN10 | 2M284903KC | N/A | G09 | 13 - 14 | 2 |  | 0,3 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380 GEN10 | 2M284903KF | N/A | G09 | 15 - 16 | 2 |  | 0,3 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HP | HP 5940 | CN77HLJ059 | N/A | G09 | 34 | 1 |  | 0,132 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HP | HP 5940 | CN76HL J03M | N/A | G09 | 36 | 1 |  | 0,132 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | NETWORK | Cisco | ASR1001X V01 | FXS1915Q3JL | N/A | G09 | 38 | 1 |  | 0,25 | 13O | G-09 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | EMC2 | VNX SERIES | FCNLB131900168 | N/A | 16 | N/A | 40 | 23 |  | 13R | G-06 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 18 | SI | 23 | Operativo
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 25 | 1 |  | N/A | 13R | G-06 | SA SERVER | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 21 | 1 |  | N/A | 13R | G-06 | ESA 2 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 20 | 1 |  | N/A | 13R | G-06 | ESA 1 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 19 | 1 |  | N/A | 13R | G-06 | LOG DECODER | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | N/A | N/A | N/A | N/A | 16 | 17-18 | 2 |  | N/A | 13R | G-06 | DAC CONCENTRATOR} | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 16 | 1 |  | N/A | 13R | G-06 | BROCKER | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 15 | 1 |  | N/A | 13R | G-06 | ARCHIVER 2 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 14 | 1 |  | N/A | 13R | G-06 | ARCHIVER 1 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 13 | 1 |  | N/A | 13R | G-06 | DAC DECODER | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | N/A | N/A | N/A | 16 | 10-12 | 1 |  | N/A | 13R | G-06 | CONCENTRADOR | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | N/A | N/A | N/A | N/A | 16 | 4 - 6 | 3 |  | N/A | 13R | G-06 | DAC ARCHIVER 2 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | N/A | N/A | N/A | N/A | 16 | 1 - 3 | 3 |  | N/A | 13R | G-06 | DAC ARCHIVER 1 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | RSA | NW-S6E-HYBRID-NL | BQ37T13 | N/A | 16 | 28-29 | 2 |  | N/A | 13R | G-06 |  | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | STORAGE | RSA | NW-PV-A | FKPFMH3 | N/A | 16 | 26-27 | 2 |  | N/A | 13R | G-06 |  | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | HP | N/A | N/A | N/A | G05 | N/A | 42 | 5 |  | 13S | G-05 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 2 | SI | 40 | Operativo
GSM | SWITCH | HP | HP5900-JC772A | CN62FHC00B | N/A | G05 | 40 | 1 |  | 0,132 | 13S | G-05 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HP | HP5900-JC772A | CN63FHC07V | N/A | G05 | 38 | 1 |  | 0,132 | 13S | G-05 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HUAWEI | CE6851-4856Q-H1 | NO VISIBLE | N/A | G05 | 36 | 1 |  | 0,36 | 13S | G-05 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268 V3 | 2102311GGXN0HC000423 | N/A | G05 | 33 - 34 | 2 |  | 0,27 | 13S | G-05 | PRD7812 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268 V3 | 2102311GGXN0HC000421 | N/A | G05 | 31 - 32 | 2 |  | 0,27 | 13S | G-05 | PRD7810 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268 V3 | 2102311GGXN0HC000425 | N/A | G05 | 29 - 30 | 2 |  | 0,27 | 13S | G-05 | PRD7808 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 27 - 28 | 2 |  | 0,57 | 13S | G-05 | 50 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 25 - 26 | 2 |  | 0,57 | 13S | G-05 | 51 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 23 - 24 | 2 |  | 0,57 | 13S | G-05 | 52 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 21 - 22 | 2 |  | 0,57 | 13S | G-05 | 53 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 19 - 20 | 2 |  | 0,57 | 13S | G-05 | 63 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 17 - 18 | 2 |  | 0,57 | 13S | G-05 | 62 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 15 - 16 | 2 |  | 0,57 | 13S | G-05 | 61 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 13 -14 | 2 |  | 0,57 | 13S | G-05 | 60 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 11 - 12 | 2 |  | 0,57 | 13S | G-05 | 59 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 9 - 10 | 2 |  | 0,57 | 13S | G-05 | 58 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 7 - 8 | 2 |  | 0,57 | 13S | G-05 | 57 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 5 - 6 | 2 |  | 0,57 | 13S | G-05 | 56 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 3 - 4 | 2 |  | 0,57 | 13S | G-05 | 55 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G05 | 1 - 2 | 2 |  | 0,57 | 13S | G-05 | 54 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | GENERICO | N/A | N/A | N/A | G04 |  | 42 | 4 |  | 13T | G-04 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 2 | SI | 40 | Operativo
GSM | SWITCH | HP | HP5900-JC772A | CN63FHC0T9 | N/A | G04 | 40 | 1 |  | 0,132 | 13T | G-04 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HP | HP5900-JC772A | CN64FHC0B0 | N/A | G04 | 38 | 1 |  | 0,132 | 13T | G-04 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268 V3 | 2102311GGXN0HC000424 | N/A | G04 | 35 - 36 | 2 |  | 0,27 | 13T | G-04 | PRD7806 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268 V3 | 2102311GGXN0HC000426 | N/A | G04 | 33 - 34 | 2 |  | 0,27 | 13T | G-04 | PRD7804 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268 V3 | 2102311GGXN0HC000420 | N/A | G04 | 31 - 32 | 2 |  | 0,27 | 13T | G-04 | PRD7802 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268 V3 | 2102311GGXN0HC000422 | N/A | G04 | 29 - 30 | 2 |  | 0,27 | 13T | G-04 | PRD7800 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 27 -28 | 2 |  | 0,57 | 13T | G-04 | 36 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 25 - 26 | 2 |  | 0,57 | 13T | G-04 | 37 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 23 - 24 | 2 |  | 0,57 | 13T | G-04 | 38 | N/A | Operativo | N/A | N/A | N/A | N/A | SI | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 21 - 22 | 2 |  | 0,57 | 13T | G-04 | 39 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 19 - 20 | 2 |  | 0,57 | 13T | G-04 | PRD7452 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 17 - 18 | 2 |  | 0,57 | 13T | G-04 | 48 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 15 - 16 | 2 |  | 0,57 | 13T | G-04 | 47 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 13 - 14 | 2 |  | 0,57 | 13T | G-04 | 46 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 11 - 12 | 2 |  | 0,57 | 13T | G-04 | 45 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 9 - 10 | 2 |  | 0,57 | 13T | G-04 | 44 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 7 - 8 | 2 |  | 0,57 | 13T | G-04 | 43 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 5 - 6 | 2 |  | 0,57 | 13T | G-04 | 42 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 3 - 4 | 2 |  | 0,57 | 13T | G-04 | 41 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G04 | 1 - 2 | 2 |  | 0,57 | 13T | G-04 | 40 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | GENERICO | N/A | N/A | N/A | G03 | N/A | 42 | 8 |  | 13U | G-03 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 5 | SI | 42 | Operativo
GSM | SWITCH | HP | HP5900-JC772A | CN64FHC0BH | N/A | G03 | 40 | 1 |  | 0,132 | 13U | G-03 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HP | HP5900-JC772A | CN62FHC0NJ | N/A | G03 | 38 | 1 |  | 0,132 | 13U | G-03 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HP | HP5900-JC772A | NO VISIBLE | N/A | G03 | 37 | 1 |  | 0,132 | 13U | G-03 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | HUAWEI | CE6851-4856Q-H1 | NO VISIBLE | N/A | G03 | 35 | 1 |  | 0,36 | 13U | G-03 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HUAWEI | RH2268 V3 | 2102311GGXN0HC000419 | N/A | G03 | 29 - 30 | 2 |  | 0,27 | 13U | G-03 | PRD7798 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 27 - 28 | 2 |  | 0,57 | 13U | G-03 | 22 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 25 - 26 | 2 |  | 0,57 | 13U | G-03 | 23 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 23 - 24 | 2 |  | 0,57 | 13U | G-03 | 24 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 21 - 22 | 2 |  | 0,57 | 13U | G-03 | 25 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 19 - 20 | 2 |  | 0,57 | 13U | G-03 | 35 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 17 - 18 | 2 |  | 0,57 | 13U | G-03 | 34 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 15 - 16 | 2 |  | 0,57 | 13U | G-03 | 33 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 13 - 14 | 2 |  | 0,57 | 13U | G-03 | 32 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 11 - 12 | 2 |  | 0,57 | 13U | G-03 | 31 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 9 - 10 | 2 |  | 0,57 | 13U | G-03 | 30 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 7 - 8 | 2 |  | 0,57 | 13U | G-03 | 29 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | MXQ63307JJ | N/A | G03 | 5 - 6 | 2 |  | 0,57 | 13U | G-03 | PRD7440 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 3 - 4 | 2 |  | 0,57 | 13U | G-03 | 27 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | PROLIANT DL380P GEN9 | NO VISIBLE | N/A | G03 | 1 - 2 | 2 |  | 0,57 | 13U | G-03 | 26 | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | SIEMON | Rack 1 Sin Modelo | Sin Serie | N/A | G10 | N/A | 45 | 40 |  | 13-M | G-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | Vacio | Cerrado/Con Llave | N/A | 39 | SI | 36 | Operativo
GSM | SWITCH | HP | E7910 | CN85GDK004 | N/A | G10 | 2 - 6 | 5 |  | 1.8 | 13-M | G-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | Instalado sin conección de energia | N/A | N/A
GSM | RACK | EMC2 | VNX | Sin Serie | N/A | G02 | N/A | 40 | 31 |  | 13-V | G-02 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | Vacio | Cerrado/Con Llave | N/A | 31 | SI | 33 | Operativo
GSM | Storage HDDAC | RSA | NW 46TB HDDAC Decoder 4Log w/Lic | FBQ2BT2 | N/A | G02 | 22 -23 | 2 |  | 0.14 | 13-V | G-02 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | Broker Believe | RSA | NW S5 Broker | 2DF0MR2 | N/A | G02 | 33 | 1 |  | 0.66 | 13-V | G-02 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | Concentrator Believe | RSA | NW S5 Logs Concentrator | CF5HRP2 | N/A | G02 | 30 | 1 |  | 0.14 | 13-V | G-02 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | Log Decoder Believe | RSA | NW S5 Log Decoder | C8KWTQ2 | N/A | G02 | 24 | 1 |  | 0.14 | 13-V | G-02 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | Storage HDDAC | RSA | NW 33TB HP Concentrator DAC | H72JRP2 | N/A | G02 | 17 - 18 | 2 |  | 0.14 | 13-V | G-02 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | Packets Believe | RSA | NW S6 Nwk Decoder TP Appl – No SW Lic | FR55RP2 | N/A | G02 | 28 - 29 | 2 |  | 0.14 | 13-V | G-02 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | HP | N/A | N/A | N/A | G11 | N/A | 42 | 34 |  | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cerrado/Con Llave | N/A | 25 | SI | 24 | Operativo
GSM | SERVER | HP | Proliant DL380 Gen10 | 2M29460CQB | N/A | G11 | 19 - 20 | 1 |  | N/A | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | Proliant DL380 Gen10 | 2M29460CQF | N/A | G10 | 17 - 18 | 1 |  | N/A | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | Proliant DL380 Gen10 | 2M29460CQ8 | N/A | G10 | 15 - 16 | 1 |  | N/A | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | Proliant DL380 Gen10 | 2M29460CQD | N/A | G10 | 13 - 14 | 1 |  | N/A | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | Proliant DL380 Gen10 | 2M29460CQ9 | N/A | G10 | 11-12 | 1 |  | N/A | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | Proliant DL380 Gen10 | 2M29460CQG | N/A | G10 | 9-10 | 1 |  | N/A | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | Proliant DL380 Gen10 | 2M29460CQC | N/A | G10 | 7-8 | 1 |  | N/A | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HP | Proliant DL380 Gen10 | 2M29460CQ7 | N/A | G10 | 5-6 | 1 |  | N/A | 13N | G-11 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | N/A | N/A | N/A | N/A | E-03 | N/A | 42 |  | N/A | 14V | E-03 | N/A | N/A | Operativo | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | 2M20510692 | fna010.01 | E-03 | 11-12 | 2 |  | N/A | 14V | E-03 | N/A | Alarmado | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | 2M2050073K | fna009.01 | E-03 | 13-14 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | NO VISIBLE | fna008.01 | E-03 | 15-16 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | NO VISIBLE | fna007.01 | E-03 | 17-18 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | NO VISIBLE | fna006.01 | E-03 | 19-20 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | NO VISIBLE | fna005.01 | E-03 | 21-22 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | NO VISIBLE | fna004.01 | E-03 | 23-24 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | NO VISIBLE | fna003.01 | E-03 | 25-26 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | NO VISIBLE | fna002.01 | E-03 | 27-28 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | HPE | Proliant DL380 Gen10 | NO VISIBLE | fna001.01 | E-03 | 29-30 | 2 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | ARISTA | 7060 CX-32S | NO VISIBLE | N/A | E-03 | 32 | 1 |  | N/A | 14V | E-03 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | RACK | N/A | N/A | N/A | N/A | E-04 | N/A | 42 |  | N/A | 14U | E-04 | N/A | N/A | Operativo | N/A
GSM | ROUTER | CISCO | NC-55-18H18F | FOX2510P33E | N/A | E-04 | 1 - 7 | 7 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | DELL | R720 | NO VISIBLE | N/A | E-04 | 9 - 10 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | DELL | R720 | NO VISIBLE | N/A | E-04 | 11 - 12 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | DELL | R720 | NO VISIBLE | N/A | E-04 | 13 - 14 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | DELL | R720 | NO VISIBLE | N/A | E-04 | 15 - 16 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | DELL | R720 | NO VISIBLE | N/A | E-04 | 17 - 18 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | NO VISIBLE | NO VISIBLE | NO VISIBLE | N/A | E-04 | 25 - 26 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | NETFLIX | BSP-11 | NO VISIBLE | N/A | E-04 | 29 - 30 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | NETFLIX | BSP-11 | NO VISIBLE | N/A | E-04 | 31 - 32 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SERVER | NETFLIX | BSP-11 | NO VISIBLE | N/A | E-04 | 33 - 34 | 2 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | SWITCH | CISCO | CATALYST 9300 L 4X 10 G |  | N/A | E-04 | 40 | 1 |  | N/A | 14U | E-04 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No cierra puert delantera ni trasera por router cisco. Escalad a Marcelo Robles por Oscar Lagos el dia 11.11-2021
GSM |  |  |  |  | N/A | E-05 |  |  |  |  | 14T | E-05 | N/A |  | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
GSM | Router | HUAWEI | NE40E-X8 | 2102351930P0F1000162 | N/A | G10 | 11 -- 24 | 14 |  |  |  | G-10 | N/A | N/A | Operativo | N/A | N/A | N/A | N/A | N/A | N/A | Funcional | N/A | N/A |  |  |  | Operativo
Note on H33: artur: REVISAR UR
Note on H42: artur: REVISAR UR
Note on D51: artur: faltan todos los Bay operativos y Alarmados
Note on H137: artur: Revisar UR
Note on H167: artur: Revisar UR